THE KARNAL CENTRAL COOPERATIVE BANK LTD: KARNAL.

The Mall, Karnal (Haryana)

Ref.No.__________________





    
     Dated: _______

TENDER NOTICE
1. Sealed Tenders are hereby invited on behalf of THE KARNAL CENTRAL CO-OPERATIVE BANK LTD., KARNAL for the proposed FURNITURE/INTERIOR WORK to be carried out at THE MALL, KARNAL.

	Date of issue tender
	From 09.04.2026 

	Last date for submission/receipt of tender
	On or before 05:00 PM on 16.04.2026

	Date of opening tender
	At 11.00 AM on 17.04.2026

	EMD
	Rs 12000.00/- in the form of DD/ Pay order payable in favour of "The Karnal Central Co-operative Bank Ltd., Karnal" payable at Karnal


2. Description of work:-

	Sr. No.
	Description of Items
	Approximate Quantity

	1
	SPC Flooring 6mm
	1260

	2
	Wall Paneling PVC Louvers
	980

	3
	Partition Wall with commercial Aluminum 5mm Glass & 4mm APP Sheet
	1080

	4
	Windows cover with Commercial Aluminum 5mm Glass
	3

	5
	Main Door with 12mm Toughened Glass
	1

	6
	Counter table with partition
	5

	7
	Officer’s table with side Credenza
	3

	8
	Storage with Pre-laminated interior grade
	7

	9
	False ceiling with Gypsum grid 2’×2’
	1260

	10
	Ceiling Lights 2’×2’
	32

	11
	Cash counter cabin with side table (6’×6’ Inside)
	1

	12
	Ramp work
	1

	13
	Toilet renovation.
	2


3. Time for completion of job: 30 days from the date of acceptance of offer.

4. The agency shall visit/examine the site for each unit as per given time schedule or prior appointment and submit duly filled & signed Schedule-B.

5. The bidder shall attach copy of agency/company RTGS/Bank details.

6. The Tenderer/Bidder will not withdraw his/their Tender after opening of technical bid and if done so; his/their EMD may be forfeited.

7. The Tenderer/Bidder will not sublet the work (if awarded to his/their Bidder) and if it does so; the penalty shall be payable by his/their Bidder as may be decided by the Bank.
8. Tender forms and other Terms & Conditions available on bank’s website (www.karnal Dccb.bank.in) 
For more details visit the site at Mall Road, Karnal on any working day. If any query please contact on mobile No. 9813249105.






















General Manager











        Karnal
THE KARNAL CENTRAL COOPERATIVE BANK LTD: KARNAL.

The Mall, Karnal (Haryana)

Ref Ref.No.__________________





    Dated: _______

TENDER NOTICE
1. Sealed Tenders are hereby invited on behalf of THE KARNAL CENTRAL CO-OPERATIVE BANK LTD., KARNAL for the proposed FURNITURE/INTERIOR WORK to be carried out at GHARAUNDA BRANCH at NEW GRAIN MARKET, GHARAUNDA, KARNAL.

	Date of issue tender
	From 09.04.2026 

	Last date for submission/receipt of tender
	On or before 5.00 PM on 16.04.2026

	Date of opening tender
	At 11.00 AM on 17.04.2026

	EMD
	Rs 12000.00/- in the form of DD/ Pay order payable in favour of "The Karnal Central Co-operative Bank Ltd., Karnal" payable at Karnal


2. Description of work:-

	Sr. No.
	Description of Items
	Approximate Quantity

	1
	Wall Paneling PVC Louvers
	840

	2
	Main Door with 12mm Toughened Glass
	1

	3
	Counter table with partition
	3

	4
	Officer’s table with side Credenza
	1

	5
	Storage with Pre-laminated interior grade
	4

	6
	Cash counter cabin with side table (6’×6’ Inside)
	1


3. Time for completion of job: 30 days from the date of acceptance of offer.

4. The agency shall visit/examine the site for each unit as per given time schedule or prior appointment and submit duly filled & signed Schedule-B.

5. The bidder shall attach copy of agency/company RTGS/Bank details.

6. The Tenderer/Bidder will not withdraw his/their Tender after opening of technical bid and if done so; his/their EMD may be forfeited.

7. The Tenderer/Bidder will not sublet the work (if awarded to his/their Bidder) and if it does so; the penalty shall be payable by his/their Bidder as may be decided by the Bank.
8. Tender forms and other Terms & Conditions available on bank’s website (www.karnal Dccb.bank.in) 

9. For more details visit the site at Mall Road, Karnal on any working day. If any query please contact on mobile No. 9813249105.























General Manager











        Karnal
TERMS AND CONDITIONS
1. Name of Work: INTERIOR FURNITURE WORK OF THE KARNAL CENTRAL COOPERATIVE BANK LTD; KARNAL
2. The bidders may visit/examine the site and its surrounding from 09.04.2026 to 16.04.2026 on any working day between 10:00 AM to 05:00 PM by prior appointment with the Branch Manager to assess the accessibility and assess the scope of works before submitting their offer. No claims later on in regard to the site and its surrounding or any matter relating thereto shall be entertained. The bidders shall arrange & maintain at his (their) own cost all materials, Tools & Plants, security (for their men/materials), storage for material and facilities to the workmen for executing the work.

3. An Earnest Money Deposit (EMD): EMD of Rs 12000/- (Rupees Twelve Thousand Only) has to be enclosed along with the tender. The EMD shall be only in the form of Demand Draft / pay order drawn in favour of "The Karnal Central Coop. Bank Ltd., Karnal", payable at Karnal, along with the tender, failing which the bid will summarily be rejected. No Cheque / Cash shall be accepted as EMD.

4. Earnest Money Deposited by the successful bidder shall be converted into security deposit. Same will be released after completion of work.

5. The rates mentioned in the financial bid shall be inclusive of all WCT, GST, Duties, Octroi, Packing, Forwarding, Cartage, Insurance, Loading-unloading, road permit/state entry permit and Delivery, Installation, Testing, Commissioning, etc at site including temporary constructional Storage, Risks, Overhead Charges, General Liabilities/ Obligations etc and any other taxes as applicable. Any variation in the above said taxes till the completion of the work will also be in the bidders account.

6. Tender documents shall be available on Bank's website only.

7. Duly sealed tenders shall be dropped in the tender box /to be submitted at The Karnal Central Cooperative Bank Ltd., Karnal. Tender MUST be duly signed and stamped on each page as a token of acceptance of all terms and conditions /clauses of the tender enquiry.

8. Sealed tenders should be addressed to General Manager, The Karnal Central Coop. Bank Ltd., Karnal and super scribed as "TENDER FOR INTERIOR (FURNITURE WORK) WORK OF KARNAL BRANCH/GHARAUNDA BRANCH and sent as to reach this office not later than 05.00 PM on 16.04.2026.

9. Tenders not accompanied with EMD, supporting documents and application fee shall be rejected and considered invalid. The earnest money shall be to the tenderer if the tender is not accepted but without any interest. EMD amount deposited by the Tenderer, whose tender is accepted, shall be adjusted towards security deposit to be retained by the Bank for one year.

10. The conditional tender shall not be considered under any circumstances and shall be rejected without any notice.

11. No tender will be received after 05.00 PM On 16.04.2026.

12. All tenders/bids shall be the property of The Karnal Central Coop. Bank Ltd., Karnal and contractors will lay no claim whatsoever on the same.

13. Tender will be opened at Karnal Office on date 17.04.2026 at 11.00 A.M. Interested bidders may attend tender opening process. Separate communication will not be given from our side. The rates tendered by the contractors shall be valid for 90 days from the date of opening.

14. The Karnal Central Coop. Bank Ltd., Karnal reserves the right to reject any or all the tenders in full or in part without assigning any reasons whatsoever, and the decision of the Bank in this regard will be binding on all the bidders. Bidders not complying with any of the provisions stated in this tender document are liable to be rejected. Bank reserves the right to accept or reject any tender without assigning any reason and does not bind himself to accept the lowest tender.

15. General Manager of The Karnal Central Coop. Bank Ltd., Karnal does not bind himself to accept the lowest or any tender and reserves the right to accept or reject any or all the tenders whether in whole or in part without assigning any reason for doing so. The owner reserves his rights to negotiate with the lowest or any other tender/s.

16. Each of the tender documents is required to be signed by the person or persons submitting the tender in token of his/ their having acquired himself/ themselves with the general conditions, articles of agreement, mode of measurements, schedule of probable quantities, site conditions and the time schedule etc. as laid down. Any tender with any of the documents not signed will be liable to be rejected.

17. Payment terms as follows: a) No advance payment will be made. b) The payment shall be made after successful completion and handing over of work in all respect.

18. Income Tax and surcharge will be deducted as per Govt. of India rules.

19. Tenderer shall fill in rates for all items of work described in the Schedule-B. All entries must be made by hand and in ink. The rates quoted for the items shall compulsorily be in "Figure" & "Words" in English. In the event of discrepancy between the rates quoted in figures & words, the rates quoted in words, shall be binding. Tender not quoted in above said manner will be refused and will not be considered. Items against which no rate is entered by the tenderer will not be paid for by the Owner when executed and shall be deemed covered by the other rates in the Schedule-B. If any of the documents is missing or unsigned the tender shall be considered invalid.

20. All erasures and alterations made while filling the tender must be attested with initials of the tenderer. Overwriting of figures is not permitted. Failure to comply with either of these conditions will render the tender invalid.

21. All the pages of the tender documents should be signed by the tenderer.

22. Within seven days of the receipt of intimation from the Owner of acceptance of his/ their tender, the successful tenderer shall be bound to implement the contract by signing the agreement in accordance with the draft agreement and the conditions of contract with the owner.

23. In case L1 backs out, Bank reserves the right to entrust to L2, provided L2 agrees to carry out work on L1's rates. In that case, EMD of L1 will be forfeited.

24. The retention money (as mentioned in appendix) shall be kept with the Owner for a period of 12 months after the completion certificate issued by the architect, said amount is not to bear interest.

25. The rates quoted by the contractor should include all charges for scaffolding materials labour, hire or any tools, marking out and clearing of the site as mentioned in the specifications. The rate quoted by the tenderer in the Schedule-B of probable quantities will be deemed to be for the finished work to be measured at site. The rates shall be inclusive of all octroi duty, L.B.T.; works contract tax, Provident Fund, Insurance etc. levied by any Government or any public body. The contractor shall abide by the rules of Minimum Wage Act and Child Labour Act and keep the owner indemnified regarding the same. The contractor should take necessary insurance for the work as required under the workman compensation act, labour laws etc. as prevailing.

26. The rate shall be binding to the Contractor, for all the tender items till the completion of defect liability period irrespective of variation in market rates of material and labor.

27. General Manager of The Karnal Central Coop. Bank Ltd., Karnal reserves the right to terminate the contract without any reference or any notice period on account of poor workmanship, non-compliance of set norms/specifications for the works, delay in progress of work, violation of any contract provisions by the bidder, failure to start the work within 7 days from date of issue of Letter of Intent (L.O.I). The contract can also be terminated at the request of contractor within 7 days from the date of issue of LOI order. In such cases the bidder is liable to pay Liquidated damages @ 5% of tendered value besides forfeiting security deposit/EMD.

28. Bank shall be fully empowered to expel any of the bidder's staff in case of any indiscipline/misconduct/violence.

29. Any violation of instruction/agreement or suppression of facts will attract cancellation of agreement without any reference or any notice period and in such case the amount of earnest money/B.G will be forfeited.

30. The agency shall carry out regular visit/inspection/maintenance (if required, with prior approval of Bank's Authority) of entire system and attend un-limited calls/breakdown calls during the contract period & then after up to defect liability period. The contractor will attend to all defects noticed during defects liability period. If the contractor fails to attend the defects these defects will be rectified by the bank and the expenditure incurred on this account will be recovered from the security deposit.

31. The calculations made by the tenderer should be based upon probable quantities of the several items of work, which are furnished for the tenderers' convenience in the schedule B. It must be clearly understood that the contract is not a lump-sum contract that neither the probable quantities nor value of the individual and the aggregate value of the entire tender will form a part of the contract and that Architect doesn't in any way assure the tenderer or guarantee that the said probable quantities are correct or that the work would correspond thereto.

32. The items against which no quantity is shown in schedule-B for which tenderer is to quote his rates and the Owner at his discretion shall ask the contractor to execute those items if required and which shall be binding on the part of the contractor to execute those items at the rates quoted therein in the tender.

33. In case the successful bidder reviles from the offer within the validity of tender, the earnest money will be forfeited. Similarly, if successful contractor fails to commence the work within 7 day from the date of issue of award letter, the amount of earnest money will also be forfeited besides blacklisting the firm.

34. Special attention of the tenderer is drawn to the alternative items in the schedule of probable quantities. The rates and amount for these alternative items shall be duly filled in. The Architect reserves to himself the right to adopt any of the alternative items, either after scrutinizing and deciding upon the tenders or later when the work is being executed.

35. The various materials stored on site shall be protected from the fire, floods or rains etc. and the contractor shall be responsible for any damage caused to the owner for the same.

36. The contractor shall allow enough facilities to the sub-contractors employed by the owner and should cooperate with them and that small holes etc. made by these sub-contractors to the structure shall be properly corrected by the general contractor without any prejudice and extra cost whatsoever.

37. The bills shall be prepared by the contractor in the manner required by the Architect & Bank and should be submitted to him. The owner shall pay the contractor within the 15 days time from the issue of the certificate of payment by the architect. All payments by the owner under this contract shall be made at The Karnal Central Coop. Bank Ltd., Karnal If bidder at any time makes default during currency of work or does not execute any part of the work with due diligence or Commits default in complying with any of the terms and conditions of the contract and does not initiate any remedy for it or takes effective steps for its remedy or Fails to complete the work(s) or items of work with individual dates of completion, on or before the date(s) so determined, and does not complete them within the period specified in the notice given in writing in their behalf by the Bank's Authority. The Bank's Authority without prejudice to any other right or remedy against the bidder which have either accrued or accrue thereafter, by a notice in writing to take the part work / part incomplete work of any item(s) out of his hands and shall have powers to take possession of the site and any materials, constructional plant, implements, stores, etc., thereon; and/or Carry out the part work / part incomplete work of any item(s) by any means at the risk and cost of the bidder.

38. The tender submitted on behalf of a firm shall be signed by all the partners/ directors of the firm or by a partner who has the necessary authority on behalf of the firm to enter into the proposed contract. Otherwise the owner may reject the tender.

39. The owner reserves the right to omit any item or items or part thereof for which contractor shall not claim any compensation whatsoever.

40. The contractor will arrange his water and electricity for completing the work. In case water and electricity are already available at the site, the same will be provided by the bank and actual amount will be deducted from the bill.

41. The rates quoted in the tenderer shall include all charges of scaffolding, lift, any tools and plants, railway, freight, labor conditions and any other charges or expenditure for carrying out the work.

42. The bidder shall supply materials at site with manufacturers test certificate and challan as desired by the ARCHITECT and Bank. Successful bidder shall submit a letter with list of makes that is to be incorporated in the work. The same shall be got approved by the Bank before incorporation in the work.

43. All materials brought at site shall be got approved by the ARCHITECT before being used. If rejected, the same shall be removed immediately. The material of only approved make shall be brought at site.

44. The earnest money deposit of unsuccessful tenderers will be returned within 30 days from the date of opening of tenders.

45. The bidder shall depute their own security staff for watch and ward of their materials supplied/ installed at site till the final handing over of the complete work and temporary lockable shed/Almirah etc. shall be arranged by bidder at his own risk and cost. No accommodation/ staff/ lockable space will be provided by Bank under any circumstances.

46. All erasures and alterations made must be attested with initials of tenderers filling the tender. Overwriting of figures is not permitted.

47. No escalation in any form either of cost/materials/labours or any taxes shall be payable by the Bank during the contract period.

48. The bidder shall be solely responsible for any accident/medical/health related liability/compensation for the personnel deployed by it at Bank. The bank shall have no liability in this regard. The personnel employed by the bidder will not claim any right to become the employees of Bank and there will be no Employee and Employer relationship between the personnel engaged by the bidder and Bank.

49. On completion of all work, bidder shall remove all surplus materials & leave the site in a broom clean condition, failing which the same shall be done at bidder's risk & cost. Bidder shall be responsible for disposing off the all old dismantled waste materials away from the campus. The disposal of such materials shall be done immediately after completion of work at own risk & cost.

50. Non tendered/extra work if asked to be done by the contractor, only on written instructions/order from Bank. The time schedule will not change.

51. Successful Bidder shall produce all the invoices for the incorporated material in the work. The final bill shall be enclosed with all the photocopies of invoices.

52. The rates quoted by bidders should be realistic and workable for each and every items. Quoting unrealistic/unreasonable lower or higher price will be treated as non-responsive bid and will not be considered for further evaluation. The decision of Bank shall be final in this regards.

53. The bidder shall ensure compliance of all statutory laws & bye laws of the central Govt./ state Govt./Municipal authorities related to the employment of their staff and all obligations under Minimum Wage Act, Workman Compensation Act, Provident Fund & Miscellaneous Provision Act, Bonus Act, Contract Labour Act 1970 & other legislative enactment applicable etc. Bank will not be responsible for such purposes in anyway.

54. Any claim, dispute or difference arising out of or in connection with this agreement and which cannot be settled by mutual consultations, shall be referred to sole Arbitration or an Arbitrator to be appointed by Bank. The award of the Arbitrator shall be final and binding between the parties as per the terms and conditions of the Agreement to be executed on award of contract. The Arbitrator proceeding shall be governed by the Arbitration and Conciliation Act 1996 and shall be conducted at Karnal. The agreement is subject to the jurisdiction of the courts at Karnal.
55. The successful tenderer is bound to carry out entire work within the period stipulated in the appendix. The tenderer will have to pay liquidated damages for non-completion of job within stipulated period at the rate of Rs 500/- per day after expiry of period of completion subject to maximum of 10% of the contract value.

56. The successful tenderer is bound to carry out items of work necessary for completion of job even though the same are not included in the schedule of quantity. Rates of extra items will be derived from the tender. In case the rates do not exist in the tender and extra item is not similar to the tender item, then the rates will be worked out on actual cost of material and labor, any other expenditure for completing that work plus 10% towards contractor's profit and overheads.

57. The contractor must co-operate with other contractors appointed by the Bank so the entire work shall proceed smoothly with least possible delay and to satisfaction of the Bank.

58. The contractor shall acquaint himself with the site conditions making his own arrangement for storing of material at site lift cartage etc.

59. The contractor shall make adequate arrangements for watch and ward of material and shall ensure the safety, breakage and any theft of material fixed or unfixed by him or other sub-contractors.

60. The contractor will take necessary precautions for carrying out the work avoiding any damage to structure/decorative parts of the property. The contractor will rectify any damages done at his cost.

61. Electrical, and Sanitary works will be carried out as per Bank's standard drawings/specifications and to the entire satisfaction of the Bank.

62. The bank may delay the progress of work without in any way vitiating the contract and grant extension of time for the commencement/completion of contract as it may think proper and sufficient in consequence of such delay and the contractor shall not make claim, compensation or damage in relation thereof.

63. The contractor will not execute any extra item without Bank's permission in writing.

64. The quantities mentioned in the schedule of quantities are approximate. Payment will be made on the actual work done by the contractor. However the contractor should not deviate the quantity without Bank's permission. Conditional tenders quoted by Contractor is liable to be rejected.

65. The Bank has a right to alter the nature of work and to add or omit any items of work or to have the option of the same carried out departmentally or otherwise and such alternations or variations shall be carried out without prejudices to the contract.

66. Contractor must inform in writing to the architect before executing any work that is not covered in tender or any quantities of the tendered item that are increasing while executing the work. Prior permission from the Owner shall be obtained before executing any such item.

67. I/ We hereby declare that I/We have accept/read and understood the above instructions for the guidance of the tenderer.

Date:

Place: 






        Signature of the tenderer with SEAL
ELIGIBILITY CRITERIA
The bidder should fulfill the following eligibility criteria. They are required to submit copies of documents to substantiate their qualifying criteria.

1. Bidder must have valid licenses for related trades as applicable, PAN, GST, EPFO, ESIC and income Tax clearance certificate etc. registration with respective registering authorities.

2. The bidder should have average annual turnover of more than 10.00 Lakhs during the last three financial years (Valid CA certificate to be enclosed).

3. The bidder should be a profitable agency & should have previous shown the profit in previous financial years (Valid CA certificate to be enclosed).

4. The bidder should not have been blacklisted by any PSU Bank or enterprise/Private Bank/NBFC/Cooperative Bank/Govt. Department during last 05 years. A written undertaking has to be given by the bidder.

5. The contractor should be an income tax assesse and should have filed income tax return for the last three year (Proof of the same should be submitted).

6. The bidder should be a sole proprietary concern/partnership firm or a company and should be registered of Firms/Companies wherever applicable.

7. The vendor/Contractor should have minimum 3 years of experience of executing similar works. (during last 3 years as on March 31st, 2026)

8. The firm shall produce/submit a self-declaration that there are: a. No vigilance and / or court cases pending against it. b. No inquiry or investigation pending against it from any statutory regulatory and / or investigation agency.
SCHEDULE-A:

DETAILS OF BIDDERS
	Sr. No.
	Particulars
	Details

	1.
	Name of the organization/ Proprietor
	

	2.
	Address with contact numbers
	

	3.
	Email id of the firm/company
	

	4.
	Year of Establishment
	

	5.
	Status of firm - whether company, partnership, proprietor etc.
	

	6.
	Name of Proprietor, partner, Director with mobile number & email
	

	7.
	Registration details of firm/Company
	

	8.
	Name and Qualifications of Partners / Proprietor / Directors
	

	9.
	Copy of Sales tax no./VAT/TAN / EPFO/ ESIC whatever applicable.
	

	10.
	Copy of PAN and GSTIN
	

	11.
	Copy of the Audited Balance sheet & profit & loss for last three years.
	

	12.
	Copy of income tax return last three years
	

	13.
	Satisfactory evidence to indicate financial capacity in previous year
	

	16.
	Self-declaration saying that your company is not block listed by any Govt./PSB/PSU is to be submitted.
	

	17.
	Details of Work
	Similar works - A / Similar works - B


	Name & Address of Client
	
	

	Value of work order
	
	

	Date of work order
	
	

	Date completion of work as per work order
	
	


Information has to be filled up in this format only.
Note: Where copies are required to be furnished, these are to be self-attested / notarized copies. In case you intend to give further / more information, please attach separate sheet/s.

Note: Signed Copies/certificate of all above information should be attached & submitted to the Bank with tender.

Date:









Signature & Seal of the firm 
Place:

"APPENDIX"
   APPENDIX HERE IN BEFORE REFERRED TO:




GENERAL CONDITIONS OF CONTRACT CLAUSE.

	
	

	Defects Liability period
	12 Months (TWELVE MONTHS)

	Date of commencement
	Within three days from the date of acceptance Letter is issued to contractor or day on which the contractor is instructed to take possession of the site. Whichever is later.

	Time of completion
	30 Days from the date of acceptance.

	Period of Final Measurement
	15 days from the date of virtual completion.

	Liquidated damages
	Rs. 500/- per day of delay or part thereof subject to maximum of 10% of the accepted contract value.

	Initial security deposit
	2% of the accepted tender value including earnest money.

	Retention after virtual completion
	5% of the total billed (certified) amount towards defect liabilities, to be refunded on successful completion of defects liabilities period of 12 months.

	Refund of total security comprising of EMD, ISD and Retention
	The initial security deposit comprising of EMD, shall be refunded to the ISD and retention contractor within 15 days of the issue of certificate of Virtual completion. The retention amount will be refunded to the contractor 15 days after the end of the defect liability period.

	Period of honoring Certificate
	15 working days (after receipt of contractors bills in the specified format along with certificate for payment from the PMC / Architects to the Client)











Signature of the tenderer

	Schedule-B

	FINANCIAL/COMMERCIAL BID

	 
	Description
	 
	 
	 
	 

	 
	Area of Premises
	 

	 
	Approved Make
	 
	 
	 
	 

	1
	Plywood: KITPLY VISTA/ARCHID SILVI - MR GRADE/good quality
	 
	 
	 
	 

	2
	Laminate: ROYAL TOUCHE- Cedar (968), Palm Beech (948) or equivalent make- Geenlam, Formica, Century, Merino CF finish of approved color and shade by Architect.
	 
	 
	 
	 

	3
	All hardware to be of EBCO make ISI Standard only.
	 
	 
	 
	 

	4
	Glazing and Glass door hardware- OZONE Make or ISIS Standard
	 
	 
	 
	 

	5
	Glass: Asahi/Modiglass/St Gobain Float glass toughened 12mm thk.
	 
	 
	 
	 

	6
	Adhesive: Fevicol/ Falcofix make only. Bubbles appearing in laminate, will require relamination of entire area and not just repair work.
	 
	 
	 
	 

	7
	False ceiling:
	 
	 
	 
	 

	8
	India gypsum make 12.5 mm thk sheets finished with one coat of primer and two coats of plastic emulsion paint if required. Partitions will not be measured above finished line for false ceiling.
	 
	 
	 
	 

	a
	Ceiling tiles: 15mm sillouhte grid (black line), RH90 and above DUNEMAX ARMSTRONG Make only, both tiles and grid.
	 
	 
	 
	 

	b
	Aluminum Sections: 16 gauge Jindal make/ISI Standard
	 
	 
	 
	 

	9
	Aluminum Composite Panel: Eurobond / Aludecor /Alukbond Interior Grade 4 mm thick.
	 
	 
	 
	 

	10
	Frosting film- 3M make
	 
	 
	 
	 

	11
	Granite 18mm thk- Lakha red
	 
	 
	 
	 

	12
	Tiles Wall/Floor
	 
	 
	 
	 

	 13
	Door Bathroom 2.6 inch* 84 inches
	 
	 
	 
	 

	 
	Note – All make should be ISI Standard only
	 
	 
	 
	 

	
	
	
	
	
	

	No
	Items of work
	Qty.
	Unit
	Rate(Rs.)
	Amount (Rs.)

	1
	COMPUTER CLERICAL COUNTER
	 
	 
	 
	 

	 
	Manufacturing, supplying and fixing of computer counter made to shape as per approved design / drawing / size (5 ft. approx. 2.6*4.00) and made with necessary 19mm Plywood (of approved make) frame work having one side 16" wide storage unit consisting of 3 Nos. of sliding 5" deep drawers with telescopic channels and automatic push type locking arrangement the bottom drawer shall have provision for vertical file storage. Arrangement for CPU stand, keyboard drawer, foot rest and cable manager to be provided. All visible surfaces shall be laminated with 1mm thick laminate of approved shade and make. All invisible surfaces of plywood shall be french polish. All exposed edges of plywood shall be fixed with agrowood beading finished with zinc oxide polish of matching color and a footrest of 100mm x 35mm hard wood section shall be provided with duly polished. With granite top, cost of drawer locks (to be operated with single key) handles and other necessary hardwares should be included in rate mentioned.
	 
	 
	 
	 

	2
	COMPUTER CASH COUNTER
	 
	 
	 
	 

	 
	Providing and erecting computer cash counters as per specification of above said computer clerical counter. In addition, an in-built Service top of 15" wide will be provided in the frame work at 1.5' height from the table top. Further, 12 mm thick Float glass with specified cutout hole shall be provided on service top till 5' ht and fixed in 1.0' high wooden frame with beach wood beading of 1" x 0.5" size. There will be 3 drawers, two of them will be cash drawers with partition grid for keeping notes in 12 mm ply with lipping and french polish finish. All beading surfaces to have zinc oxide polish of matching colour. Including top granite. Complete
	 
	 
	 
	 

	3
	PARTITION
	 
	 
	 
	 

	 
	Providing and fixing Full ht double skin Partitions / Full height Partly Glazed & Partly solid partitions / 5'0" high solid & glazed Partitions (straight and curved in plan) as per specification including skirting, complete as per drawings and instructions. Complete in all respects. The rate shall be inclusive of the necessary hardware, providing suitable doors at all locations wherever required with SS approved hardware such as hydraulic door closer, handles, mortise latches or tubular latches etc complete. Area of the doors shall be treated as partition & measured along with partition area only. Partition glass to have frosting/ etching as per guidelines.
	 
	 
	 
	 

	 
	Main frame – Aluminum frame 16g work good quality make 50mmx50mm metal studs at 600mm c/c both ways with frame below slab soffit for conduit to run above. All verticals secured to slab ceiling.
	 
	 
	 
	 

	 
	Skin- Both side with 8 mm thk ply screwed to frame work on both sides with joints as shown or directed. The rate shall be inclusive of Patta with grooves, borders, bottom, middle & top as advised by bank
	 
	 
	 
	 

	 
	For Glazing Skin- 12.0 mm thk. modi float glass Straight / segmented glass with etching of approved design and drawing fixed with 32x10mm thk. agro wood moulding and 900mm high solid portion as shown in the drawing or as directed by Architect
	 
	 
	 
	 

	 
	All doors (solid flush door type) with matching laminate and SS hard ware of handles, tubular latch, foot stopper, hydraulic door closure of Dorma, brass hinges (partly panelled and partly glazed) to be provided wherever required and will be measured along with partitions area
	 
	 
	 
	 

	 
	Finishing: Both side finished in 1.0 mm thk Laminate as shown or directed by Bank
	 
	 
	 
	 

	5
	PLYWOOD COVER ON FRAME FOR HANGING CEILING TO MANAGER CABIN 
	 
	 
	 
	 

	 
	Providing and fixing in the position 18mm plywood cover to CEILING top, over frame work at 600X600 grid comprising of 1.5"X6" 2nos- 18mm plywood section jointed with cross-lap, strong enough to support hanging ceiling finishing with oil paint of approved shade and color as shown in the drawing.
	 
	 
	 
	 

	6
	WALL PANELLING for Manager's cabin, Mezzanine Front Edge and ATM 
	 
	 
	 
	 

	 
	Providing and fixing PVC approved panelling on wall & column including skirting with joints and grooves, ply backing on 50x25 Aluminium Sections at 600 centres and agrowood moulding of size 38X45 mm as shown in detailed drawing and as directed. The rate shall be inclusive of multi-coloured laminate including patta, borders etc complete. Paneling to be treated with anti termite treatment
	 
	 
	 
	 

	7
	FLAP DOOR 
	 
	 
	 
	 

	 
	Providing and fixing counter flap door in 18mm ply frame of adjoining counter ht (2'6") and to match with adjoining table front elevation with proper hinges
	 
	 
	 
	 

	8
	Aluminum Composite Paneling 
	 
	 
	 
	 

	 
	At ENTRANCE Aluminum Composite panelling ACP sheet of approved colour and make on with aluminium frame work of 37.5mm x 50mm framework at spacing not exceeding 600mm both ways (horizontal and vertical). Paneling framework to be secured to wall surface/column surface.
	 
	 
	 
	 

	9
	FACADE GLAZING- Branch and ATM 
	 
	 
	 
	 

	 
	Providing and fixing facade glazing to be installed with Aluminum Composite Paneling work in tandem
	 
	 
	 
	 

	a
	Providing and fixing Glazing in powder-coated aluminum frame of Jindal 16g make as per dimensions mentioned from 9'0" ht to beam bottom, glazed with 5mm thick toughened glass of approved make. Item to include all necessary hardware of approved make, as approved frosting, etching
	 
	 
	 
	 

	b
	Providing and fixing Glazing in aluminium glazing bar as per dimensions mentioned in Jindal 16g make, with 12mm thick toughened glass panel of approved make with etching and frosting as per drawing. Item to include all necessary hardware of Stainless Steel finished as approved by the project Consultant/Bank complete in all respects
	 
	 
	 
	 

	c
	6 mm thick toughened glass for Manager cabin partition with frosting, etching as approved frosting, etching
	 
	 
	 
	 

	d
	Providing and fixing 4'0"x8'0" glass door with 12mm thick toughened glass of approved make with etching and frosting. Item to include floor machine, handle, springs, locks; all necessary hardware finished as approved by the Architect/Bank complete in all respects
	 
	 
	 
	 

	10
	CREDENZAS
	 
	 
	 
	 

	 
	Providing and erecting in position Credenza for the tables of 450mm deep or as indicated on the drawing to be made out of 19mm thk. commercial ply & having 25 x 25mm t.w. moulding with drawers and openable shutters below. The openable shutters to be made out of 19mm thk. ply with all internal surfaces to be finished with putty and 3 coats of painting including using SS good quality fittings such as hinges, ball catches, handles, locks etc. complete as per the instruction of the bank. (Elevation area shall be measured).
	 
	 
	 
	 

	11
	TABLE
	 
	 
	 
	 

	 
	Providing and supplying table for officers, etc to be made out of 18mm thk. ply with 1.0 mm thk. approved laminate finish to the table externally and a coat of putty and three coats of painting to all the internal surfaces. The top of the table to have agrowood moulding all around as per the directions and instructions. The table to have heavy duty keyboard tray on sliding channels, heavy duty CPU trolley. The necessary hardware such as heavy duty automatic locking system operable with single key for all the three drawers, ball catches, foot rest, locks, handles, necessary hardware etc complete. Necessary opening for electrical/computer wiring to be provided as per the drawing and instructions of the bank. Elevation of the table shall be as directed by bank on site.
	 
	 
	 
	 

	 
	The rate shall include the drawer unit with 3 nos of drawers and 1 no of tray to be mounted on castors to be made out of commercial ply and finished with 1.0mm thk laminate externally & french polish internally including the necessary hardware etc complete. The rate shall also include nylon buffers between the ply & finished floor.
	 
	 
	 
	 

	a
	Manager Table: 5'3"x2'6" (table top size) - Item to include 12mm thk glass with beveled edge for table top
	 
	 
	 
	 

	b
	Officer Table: 5'0" x 2'6" mm (table top size) 
	 
	 
	 
	 

	12
	VOUCHER WRITING TABLE
	 
	 
	 
	 

	 
	Providing and fixing voucher writing table consist of two box type pedestal of each size 200mmx200mm and height 750mm made out of 18mm ply and 1 mm laminate with provision of slit for garbage /waste paper bin. Concealed type of door also to be included. On top of these two pedestals, horizontal glass frame made out of 12mm in to pigeon hole pattern to house various types of vouchers. Length of the glass frame is as shown on drawing. Six nos of voucher pigeons to be made. Glass to be properly jointed and secured with ply wood work
	 
	 
	 
	 

	13
	Gypsum Board False Ceiling
	 
	 
	 
	 

	 
	Providing and Fixing Main Frame Suspended ceiling consisting of fixing company made GI channels of 27mm X 0.5 mm thick having one flange of 20mm and another flange of 30mm along with perimeter of the ceiling. Frame should be properly anchored to the MS frame (item no 8). The suspending GI intermediate channels of size 45mm x 0.55 mm thick with two flanges of each from the soffit @1200 mm centers with GI hangers of 25mm x 0.5mm thick fixed to soffit with GI cleat and steel expansion Anchor fasteners and to intermediate channel with GI nut and bolt. Ceiling section of 0.5mm thickness having knurled wedge of 51.5 mm and flanges of 26mm each with clips of 10.5mm fixed to the int. channels with help of connecting clips in perpendicular direction to the intermediate channels at 450mm center, 12.5mm thick tapered Edge Gypsum plaster board is to be fixed with 25mm screws maintaining proper distance. Surface to be finished with tape and plaster. Cost to include the cutout provision for AC Grill, Light Fittings and any other gazetts as per requirement. 3 coats of Plastic emulsion paint. Complete. (Note: False ceiling area is not to be provided Strong room, UPS and Stationary and Records Room.)

	 
	 
	 
	 

	14
	False Celling (Armstrong)
	 
	 
	 
	 

	 
	Providing and erecting false ceiling of Mineral Fiber ceiling Board Armstrong/eq with clip on type panels with framework, runners, suspenders from the existing ceiling as per the manufacturers' details and specification including fine fissured tiles complete including making cutouts for electrical fixtures, AC diffusers, access etc complete as per the instructions of the bank. Rate quoted should also hold good to carry out the composite type of false ceilings with gypsum materials by lowering the boards for housing of AC ducts. The door with suitable wooden frame work and door shutter using matching type of materials under the AC machine will be made in consultation with AC contractor and will be paid under this item as false ceiling area. Tile size 600x600x15mm T 15 silhouette grid
	 
	 
	 
	 

	 
	TOTAL AMOUNT
	 
	 
	 
	 

	 
	Amount of tender
	 
	 
	 
	 

	 
	CGST@9%
	 
	 
	 
	 

	 
	SGST@9%
	 
	 
	 
	 

	 
	Total Amount of the tender
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	Sr. No.
	Description of work
	Amount of work in Rs. Figure
	Amount of work in Rs. Word

	1
	Proposed Interior FURNITURE WORK of Gharaunda Branch, Karnal Zone
	 
	 

  

	Note- Seal and Signature of Tenderer should be on each & every page

	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	 
	Seal and Signature of Tenderer

	 
	 

	 

	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	As per point no. 4 &11 of selection criteria, Furnish the details of similar works done for:

Govt./PSU/PSBs in last three tears
DCCB Karnal any project in last three years
	Name & Address of Client
	 

	 
	
	Value of work order
	 

	 
	
	Date of work order
	 

	 
	
	Date completion of work as per work order
	 

	Information has to filled up in this format only.

	 

	If more job executed by you/firm/company list to be submitted up to last five years.

	 

	Note: where copies are required to be furnished, these are to be self-attested/notarized copies. In case you intend to give further/more information. Please attach separate sheets/s.

	 
	 
	 
	 
	 
	 

	Note: Signed copies/Certificate of all above information should be attached & submitted to the Bank with tender.

	 
	 
	 
	 
	 
	 

	Date:
	 
	 
	 
	 

	Place
	 
	 
	 
	 

	 
	 
	Seal and Signature of Tenderer

	 
	 
	 
	 
	 
	 


